## Sheet1
2019 Booth IR8 | [5 empty] | RESPONSE TO BOOTH IR-8
2019-01-15
2017 Residential space and water heating costs
|  | Canadian Gas Association for Canada |  |  |  |  | Estimate for PEI / MECL
|  |  |  | Energy |  |  |  | Sales tax
|  | ( $ ) | ( $ / GJ ) | ( GJ ) |  | ( $ / litre ) | ( $ / GJ ) | ( % ) | ( $ )
Natural gas |  | 1148 | 8.75 | 131.2 |  | n/a | n/a |  | n/a
Propane |  | 3670 | 27.98 | 131.1651 |  | 0.762 | 30.6633 | 15 | 4625.2541
Electric resistance |  | 3736 | 33.38 | 111.9233 |  |  | 34.7811 | 15 | 4476.7333
Heating oil |  | 3595 | 26.32 | 136.5881 |  | 0.78 | 20.4237 | 5 | 2929.1113
Heat pump |  | 2280 | 33.38 | 68.3044 |  |  | 36.7813 | 15 | 2889.1684
Notes: 1. | Canadian Gas Association data is from their "Natural Gas Annual Review 2018"
2. | Propane and heating oil prices for PEI are average of monthly IRAC posted maximum prices for 2017
3. | Higher heating value of 23,555 Btu / litre used for propane
4. | Electric resistance heating assumed to be 100 % efficient; 111.9 GJ corresponds to 31,086 kWh
5. | Higher heating value of 36,200 Btu / litre used for heating oil ( i.e. furnace oil )
6. | Btu conversion factor of 3412 Btu per kWh;
7. | Sales tax rates used are those in effect in 2017. Effective July 16, 2018, the Province of PEI implemented
the Clean Energy Price Incentive which provides eligible year-round Residential class customers with a 10%
rebate on the first 2,000 kWh per month of energy consumed. The rebate also applies to propane heating
for residents of P.E.I.
8. | Electricity $ / GJ costs based on Martime Electric March 1, 2017 Residential Rate energy charges:
First block: $ 0.1396 / kWh for first 2,000 kWh in month
Second block: $ 0.1108 / kWh for kWh in excess of 2,000 for the month
First block / second block split for space heating based on average monthly heating degree days.
Water heating assumed to be all first block. Overall average $ / GJ costs estimated as follows:
|  | Electric resistance: |  | $ 0.1396 / kWh x 0.50 + $ 0.1108 x 0.50 = $ 0.1252 / kWh
|  | Heat pump: |  | $ 0.1396 / kWh x 0.75 + $ 0.1108 x 0.25 = $ 0.1324 / kWh
Electric resistance space heating
|  | Lights & | Water |  |  | First | Second
| Average | appliances | heating | Total |  | block | block
| HDD | ( kWh ) | ( kWh ) | ( kWh ) |  | ( kWh ) | ( kWh )
Jan | 757.6 | 500 | 500 | 4351.7937 |  | 1000 | 3351.7937
Feb | 688.5 | 500 | 500 | 3954.8706 |  | 1000 | 2954.8706
Mar | 656.8 | 500 | 500 | 3772.78 |  | 1000 | 2772.78
Apr | 432.6 | 500 | 500 | 2484.934 |  | 1000 | 1484.934
May | 257.5 | 500 | 500 | 1479.1274 |  | 1000 | 479.1274
Jun | 118.5 | 500 | 500 | 680.6858 |  | 680.6858 | 0
Jul | 18.7 | 500 | 500 | 107.4162 |  | 107.4162 | 0
Aug | 19 | 500 | 500 | 109.1395 |  | 109.1395 | 9.9476e-14
Sep | 101.9 | 500 | 500 | 585.3323 |  | 585.3323 | 0
Oct | 271.6 | 500 | 500 | 1560.1204 |  | 1000 | 560.1204
Nov | 427.2 | 500 | 500 | 2453.9154 |  | 1000 | 1453.9154
Dec | 617.3 | 500 | 500 | 3545.8847 |  | 1000 | 2545.8847
| 4367.2 | 6000 | 6000 | 25086 |  | 9482.5739 | 15603.4261
| Space and water heating: |  |  | first block |  | 49.8056 | %
|  |  |  | second block |  | 50.1944 | %
Heat pump space heating
|  | Lights & | Water |  |  | First | Second
| Average | appliances | heating | Total |  | block | block
| HDD | ( kWh ) | ( kWh ) | ( kWh ) |  | ( kWh ) | ( kWh )
Jan | 757.6 | 500 | 500 | 2250.6646 |  | 1000 | 1250.6646
Feb | 688.5 | 500 | 500 | 2045.3835 |  | 1000 | 1045.3835
Mar | 656.8 | 500 | 500 | 1951.2097 |  | 1000 | 951.2097
Apr | 432.6 | 500 | 500 | 1285.1604 |  | 1000 | 285.1604
May | 257.5 | 500 | 500 | 764.9764 |  | 764.9764 | 1.1369e-13
Jun | 118.5 | 500 | 500 | 352.0377 |  | 352.0377 | 1.1369e-13
Jul | 18.7 | 500 | 500 | 55.5536 |  | 55.5536 | 0
Aug | 19 | 500 | 500 | 56.4449 |  | 56.4449 | 3.5527e-14
Sep | 101.9 | 500 | 500 | 302.7227 |  | 302.7227 | 0
Oct | 271.6 | 500 | 500 | 806.8644 |  | 806.8644 | 0
Nov | 427.2 | 500 | 500 | 1269.1182 |  | 1000 | 269.1182
Dec | 617.3 | 500 | 500 | 1833.8638 |  | 1000 | 833.8638
| 4367.2 | 6000 | 6000 | 12974 |  | 8338.5997 | 4635.4003
| Space and water heating: |  |  | first block |  | 75.5697 | %
|  |  |  | second block |  | 24.4303 | %