## Network
City of Summerside Electric Utility |  | Option (A or B) or COS (S) | COS Transmission Discount |  |  | 0% |  |  |  | Direct $ | Indirect $ | Direct % | Indirect % | [5 empty] | Direct O&M | 0 | OATT | 2
Transmission Line Economic Feasibility |  |  | Years remaining in WC Contract |  |  | 40 |  |  | 1 O&M COS | 57126 | 0 | [7 empty] | T11 Backup? | n | Greg = 1
[9 empty] | 2 O&M MECL |  |  | 1.471% | 0.6678% | [5 empty] | Years (30 or 40) | 40 | Ron = 2
Year of Operation | -12301566.3738 |  | 11438439.1654 | 2013 | 2014 | 2015 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Year of Construction | 23740005.5393 |  |  | 0 | 1 | 2 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
[7 empty] | OATT Growth | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1% | 1%
1. Project Net Present Value | [6 empty] | Load Growth | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47% | 1.47%
| NPV |  |  | 2014 1: MECL Option A
Capital Expenditure | -7058424 | A |  | 2013 0: -261250; 2014 1: -3717484.6093; 2015 2: -3884771.4167
Interest During Construction | -219535.6759 | M | 3% | 2013 0: -3918.75; 2014 1: -63717.3316; 2015 2: -179662.692
Professional Fees Incurred to Date | -500000 | M |  | -522500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Future Professional Fees | -224003.3194 | M |  | 0 | -125000 | -125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Easement Cost | -35834.545 | M | 0% | 0 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000 | -2000
Operation and Maintenance, Direct | -2515320.4426 | M | 2% | 0 | 0 | 0 | -115671.9844 | -117985.4241 | -120345.1326 | -122752.0352 | -125207.0759 | -127711.2175 | -130265.4418 | -132870.7506 | -135528.1657 | -138238.729 | -141003.5035 | -143823.5736 | -146700.0451 | -149634.046 | -152626.7269 | -155679.2614 | -158792.8467 | -161968.7036 | -165208.0777 | -168512.2392 | -171882.484 | -175320.1337 | -178826.5364 | -182403.0671 | -186051.1284 | -189772.151 | -193567.594 | -197438.9459 | -201387.7248 | -205415.4793 | -209523.7889 | -213714.2647 | -217988.55 | -222348.321 | -226795.2874 | -231331.1932 | -235957.817 | -240676.9734 | -245490.5128 | -250400.3231
Operation and Maintenance, Indirect | -1141930.1674 | M | 2% | 0 | 0 | 0 | -52513.9168 | -53564.1952 | -54635.4791 | -55728.1887 | -56842.7524 | -57979.6075 | -59139.1996 | -60321.9836 | -61528.4233 | -62758.9918 | -64014.1716 | -65294.455 | -66600.3441 | -67932.351 | -69290.998 | -70676.818 | -72090.3543 | -73532.1614 | -75002.8047 | -76502.8608 | -78032.918 | -79593.5763 | -81185.4479 | -82809.1568 | -84465.3399 | -86154.6467 | -87877.7397 | -89635.2945 | -91428.0004 | -93256.5604 | -95121.6916 | -97024.1254 | -98964.6079 | -100943.9001 | -102962.7781 | -105022.0336 | -107122.4743 | -109264.9238 | -111450.2223 | -113679.2267
New Brunswick to PEI Transmission System Usage Costs | -8817062.5855 | M | 1% | 0 | 0 | 0 | -386826.0295 | -398433.7427 | -410422.045 | -422804.6195 | -436142.7546 | -449117.1001 | -462517.5959 | -419204.0914 | -431791.4737 | -444792.6609 | -458220.8565 | -472457.3523 | -486556.7895 | -501129.6405 | -472060.96 | -488659.7052 | -505832.0184 | -523582.5959 | -541829.2472 | -560606.5858 | -580036.0683 | -600118.7181 | -620797.9481 | -642054.8987 | -664047.1018 | -686774.6158 | -710144.7883 | -734223.4044 | -759122.3083 | -784847.0186 | -811219.4663 | -838499.8066 | -866689.7123 | -895662.3272 | -925559.0269 | -956455.9951 | -988242.245 | -1021017.3806 | -1054887.0341 | -1089724.8393
One time generation cost for MECL Customers | -208000 | M |  | 0 | 0 | 0 | -248043.8689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Communication facilities lease | 0 | M | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Critical Spares | -2047541.7339 | M | 2% | 0 | 0 | -1711749.1875 | -25179.7894 | -25683.3851 | -26197.0528 | -26720.9939 | -27255.4138 | -27800.5221 | -28356.5325 | -28923.6631 | -29502.1364 | -30092.1791 | -30694.0227 | -31307.9032 | -31934.0612 | -32572.7425 | -33224.1973 | -33888.6813 | -34566.4549 | -35257.784 | -35962.9397 | -36682.1985 | -37415.8424 | -38164.1593 | -38927.4425 | -39705.9913 | -40500.1111 | -41310.1134 | -42136.3156 | -42979.0419 | -43838.6228 | -44715.3952 | -45609.7031 | -46521.8972 | -47452.3351 | -48401.3818 | -49369.4095 | -50356.7977 | -51363.9336 | -52391.2123 | -53439.0365 | -54507.8173
OATT Schedule 9 Charges for Bedeque Breaker Bay | 0 | M | 1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loss Savings | 1237867.6854 | M | 1.47% | 0 | 0 | 0 | 48685 | 49400.6695 | 50126.8593 | 50863.7242 | 51611.4209 | 52370.1088 | 53139.9494 | 53921.1067 | 54713.7469 | 55518.039 | 56334.1542 | 57162.2663 | 58002.5516 | 88348.1891 | 89646.9075 | 90964.717 | 92301.8983 | 93658.7362 | 95035.5197 | 96432.5418 | 97850.1002 | 99288.4966 | 100748.0375 | 102229.0337 | 103731.8005 | 105256.6579 | 106803.9308 | 108373.9486 | 109967.0456 | 111583.5612 | 113223.8396 | 114888.23 | 116577.087 | 118290.7702 | 120029.6445 | 121794.0803 | 123584.4532 | 125401.1447 | 127244.5415 | 129115.0363
Export Savings from Sside Wind Farm | 0 | M |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental Property Taxes | -188330.988 | M |  | 0 | 0 | 0 | -8746.7434 | -9002.9271 | -9265.8646 | -9535.7278 | -9812.6926 | -10096.9395 | -10388.6533 | -9405.4609 | -9675.8157 | -9953.2545 | -10237.9571 | -10530.1076 | -10829.8949 | -11137.5125 | -10422.3744 | -10717.1036 | -11019.5135 | -11329.7986 | -11648.1582 | -11974.7966 | -12309.9232 | -12653.7525 | -13006.5045 | -13368.4049 | -13739.6847 | -14120.5808 | -14511.3361 | -14912.1995 | -15323.4262 | -15745.2776 | -16178.0219 | -16621.9338 | -17077.2949 | -17544.394 | -18023.5269 | -18514.9968 | -19019.1147 | -19536.1992 | -20066.5768 | -20610.5824
West Cape to City of Summerside Transmission Costs | -2133696.3652 | M |  | 0 | 0 | 0 | -130845.6029 | -132154.0589 | -133475.5995 | -134810.3555 | -136158.4591 | -137520.0437 | -138895.2441 | -123450.093 | -124684.5939 | -125931.4398 | -127190.7542 | -128462.6618 | -129747.2884 | -131044.7613 | -120443.2401 | -121647.6725 | -122864.1492 | -124092.7907 | -125333.7186 | -126587.0558 | -127852.9264 | -129131.4556 | -130422.7702 | -131726.9979 | -133044.2679 | -134374.7105 | -135718.4576 | -137075.6422 | -138446.3986 | -139830.8626 | -141229.1713 | -142641.463 | -144067.8776 | -145508.5564 | -146963.6419 | -148433.2784 | -149917.6111 | -151416.7873 | -152930.9551 | -154460.2647
Status Quo Forecasted OATT Charges | 11550245.7635 | M |  | 0 | 0 | 0 | 568182.7745 | 582300.4119 | 596768.8302 | 611596.7453 | 626793.0896 | 642367.0175 | 658327.9108 | 593723.1383 | 608475.3771 | 623594.1648 | 639088.609 | 654968.0437 | 671242.0347 | 687920.3855 | 641561.9604 | 657502.8505 | 673839.8238 | 690582.7219 | 707741.6308 | 725326.8871 | 743349.0842 | 761819.0789 | 780747.9976 | 800147.2431 | 820028.5016 | 840403.7498 | 861285.2618 | 882685.6167 | 904617.7062 | 927094.7424 | 950130.2654 | 973738.1521 | 997932.624 | 1022728.2559 | 1048139.9849 | 1074183.1191 | 1100873.347 | 1128226.7471 | 1156259.7971 | 1184989.3843
Wind Farm 1 (100 MW) resulting OATT rate decrease |  | M | 2023 |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Wind Farm 2 (100 MW) resulting OATT rate decrease |  | M | 2030 | bar: 1 2016 to Ron = 2 40 2055
Transmission System Usage cost for WC Replacement Energy |  | M
Total Annual Cash Flows | -12301566.3738 |  |  | -787668.75 | -3908201.9409 | -5903183.2962 | -352960.1609 | -107122.6517 | -109445.4841 | -111891.4512 | -115014.6379 | -117488.3038 | -120094.807 | -128531.7977 | -131521.4845 | -134655.0512 | -137938.5024 | -141745.7436 | -145123.8371 | -119182.4792 | -128859.6288 | -134801.6745 | -141023.6149 | -147522.3761 | -154207.7956 | -161106.3078 | -168330.9779 | -175874.22 | -183670.6143 | -191692.24 | -200087.3317 | -208846.4105 | -217867.0388 | -227204.9632 | -236961.7292 | -247132.2901 | -257527.7381 | -268397.1086 | -279730.6669 | -291389.8544 | -303504.0414 | -316137.0954 | -329165.3955 | -342675.5847 | -356759.9991 | -371278.6329
Assumed Discount Rate, LTD | 4.5%
Net Present Value | -12301566.3738
Load Growth Prediction (A = 1.47%, B = 1.61%, C = 2.20%) | A
2. SE Revenue Requirement Impact
Interest and Debt Repayment
Opening Principal | IDC | Discount |  | 261250 | 3982653.3593 | 7931142.1077 | 8110804.7996 | 8035024.3613 | 7955833.8032 | 7873079.67 | 7786601.6008 | 7696232.0185 | 7601795.8049 | 7503109.9618 | 7399983.2558 | 7292215.8479 | 7179598.9067 | 7061914.2032 | 6938933.688 | 6810419.0496 | 6676121.2525 | 6535780.0545 | 6389123.5026 | 6235867.4058 | 6075714.7848 | 5908355.2957 | 5733464.6297 | 5550703.8837 | 5359718.9041 | 5160139.6004 | 4951579.2281 | 4733633.639 | 4505880.4984 | 4267878.4665 | 4019166.3431 | 3759262.1742 | 3487662.3177 | 3203840.4677 | 2907246.6344 | 2597306.0786 | 2273418.1978 | 1934955.3623 | 1581261.6993 | 1211651.8214 | 825409.499 | 421786.2721
Interest | 3% | 4.5% |  | 3918.75 | 63717.3316 | 179662.692 | 364986.216 | 361576.0963 | 358012.5211 | 354288.5851 | 350397.072 | 346330.4408 | 342080.8112 | 337639.9483 | 332999.2465 | 328149.7132 | 323081.9508 | 317786.1391 | 312252.016 | 306468.8572 | 300425.4564 | 294110.1025 | 287510.5576 | 280614.0333 | 273407.1653 | 265875.9883 | 258005.9083 | 249781.6748 | 241187.3507 | 232206.282 | 222821.0653 | 213013.5138 | 202764.6224 | 192054.531 | 180862.4854 | 169166.7978 | 156944.8043 | 144172.821 | 130826.0985 | 116878.7735 | 102303.8189 | 87072.9913 | 71156.7765 | 54524.332 | 37143.4275 | 18980.3822
Principle Repayment |  |  |  | 0 | 0 | 0 | 75780.4384 | 79190.5581 | 82754.1332 | 86478.0692 | 90369.5823 | 94436.2135 | 98685.8431 | 103126.7061 | 107767.4078 | 112616.9412 | 117684.7035 | 122980.5152 | 128514.6384 | 134297.7971 | 140341.198 | 146656.5519 | 153256.0967 | 160152.6211 | 167359.489 | 174890.666 | 182760.746 | 190984.9796 | 199579.3037 | 208560.3723 | 217945.5891 | 227753.1406 | 238002.0319 | 248712.1234 | 259904.1689 | 271599.8565 | 283821.8501 | 296593.8333 | 309940.5558 | 323887.8808 | 338462.8354 | 353693.663 | 369609.8779 | 386242.3224 | 403623.2269 | 421786.2721
Closing Balance |  |  |  | 265168.75 | 4046370.6909 | 8110804.7996 | 8035024.3613 | 7955833.8032 | 7873079.67 | 7786601.6008 | 7696232.0185 | 7601795.8049 | 7503109.9618 | 7399983.2558 | 7292215.8479 | 7179598.9067 | 7061914.2032 | 6938933.688 | 6810419.0496 | 6676121.2525 | 6535780.0545 | 6389123.5026 | 6235867.4058 | 6075714.7848 | 5908355.2957 | 5733464.6297 | 5550703.8837 | 5359718.9041 | 5160139.6004 | 4951579.2281 | 4733633.639 | 4505880.4984 | 4267878.4665 | 4019166.3431 | 3759262.1742 | 3487662.3177 | 3203840.4677 | 2907246.6344 | 2597306.0786 | 2273418.1978 | 1934955.3623 | 1581261.6993 | 1211651.8214 | 825409.499 | 421786.2721 | -5.1165e-08
Total Annual Payment | [6 empty] | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543 | 440766.6543
Depreciation (straight line over 40 years) | [6 empty] | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12
SE Revenue Requirement
Change in Transmission Charges from MECL |  |  |  | 0 | 0 | 0 | -50511.1421 | -51712.6102 | -52871.1857 | -53981.7702 | -54491.876 | -55729.8738 | -56915.0708 | -51068.9539 | -51999.3095 | -52870.0641 | -53676.9983 | -54048.0296 | -54937.9567 | -55745.9837 | -49057.7604 | -47195.4728 | -45143.6562 | -42907.3353 | -40578.665 | -38133.2455 | -35460.0895 | -32568.9052 | -29527.2794 | -26365.3465 | -22937.132 | -19254.4235 | -15422.0158 | -11386.57 | -7048.9992 | -2416.8612 | 2318.3721 | 7403.1175 | 12824.9659 | 18442.6277 | 24382.684 | 30706.1543 | 37286.5091 | 44207.4208 | 51558.1922 | 59195.7197
Professional Fees |  |  |  | 522500 | 125000 | 125000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct O&M |  |  |  | 0 | 0 | 0 | 115671.9844 | 117985.4241 | 120345.1326 | 122752.0352 | 125207.0759 | 127711.2175 | 130265.4418 | 132870.7506 | 135528.1657 | 138238.729 | 141003.5035 | 143823.5736 | 146700.0451 | 149634.046 | 152626.7269 | 155679.2614 | 158792.8467 | 161968.7036 | 165208.0777 | 168512.2392 | 171882.484 | 175320.1337 | 178826.5364 | 182403.0671 | 186051.1284 | 189772.151 | 193567.594 | 197438.9459 | 201387.7248 | 205415.4793 | 209523.7889 | 213714.2647 | 217988.55 | 222348.321 | 226795.2874 | 231331.1932 | 235957.817 | 240676.9734 | 245490.5128 | 250400.3231
Indirect O&M |  |  |  | 0 | 0 | 0 | 52513.9168 | 53564.1952 | 54635.4791 | 55728.1887 | 56842.7524 | 57979.6075 | 59139.1996 | 60321.9836 | 61528.4233 | 62758.9918 | 64014.1716 | 65294.455 | 66600.3441 | 67932.351 | 69290.998 | 70676.818 | 72090.3543 | 73532.1614 | 75002.8047 | 76502.8608 | 78032.918 | 79593.5763 | 81185.4479 | 82809.1568 | 84465.3399 | 86154.6467 | 87877.7397 | 89635.2945 | 91428.0004 | 93256.5604 | 95121.6916 | 97024.1254 | 98964.6079 | 100943.9001 | 102962.7781 | 105022.0336 | 107122.4743 | 109264.9238 | 111450.2223 | 113679.2267
Critical Spares |  |  |  | 0 | 0 | 1711749.1875 | 25179.7894 | 25683.3851 | 26197.0528 | 26720.9939 | 27255.4138 | 27800.5221 | 28356.5325 | 28923.6631 | 29502.1364 | 30092.1791 | 30694.0227 | 31307.9032 | 31934.0612 | 32572.7425 | 33224.1973 | 33888.6813 | 34566.4549 | 35257.784 | 35962.9397 | 36682.1985 | 37415.8424 | 38164.1593 | 38927.4425 | 39705.9913 | 40500.1111 | 41310.1134 | 42136.3156 | 42979.0419 | 43838.6228 | 44715.3952 | 45609.7031 | 46521.8972 | 47452.3351 | 48401.3818 | 49369.4095 | 50356.7977 | 51363.9336 | 52391.2123 | 53439.0365 | 54507.8173
Loss Savings |  |  |  | 0 | 0 | 0 | -48685 | -49400.6695 | -50126.8593 | -50863.7242 | -51611.4209 | -52370.1088 | -53139.9494 | -53921.1067 | -54713.7469 | -55518.039 | -56334.1542 | -57162.2663 | -58002.5516 | -88348.1891 | -89646.9075 | -90964.717 | -92301.8983 | -93658.7362 | -95035.5197 | -96432.5418 | -97850.1002 | -99288.4966 | -100748.0375 | -102229.0337 | -103731.8005 | -105256.6579 | -106803.9308 | -108373.9486 | -109967.0456 | -111583.5612 | -113223.8396 | -114888.23 | -116577.087 | -118290.7702 | -120029.6445 | -121794.0803 | -123584.4532 | -125401.1447 | -127244.5415 | -129115.0363
Export Savings |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Incremental Easement Costs |  |  |  | 0 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
Incremental Property Taxes |  |  |  | 0 | 0 | 0 | 8746.7434 | 9002.9271 | 9265.8646 | 9535.7278 | 9812.6926 | 10096.9395 | 10388.6533 | 9405.4609 | 9675.8157 | 9953.2545 | 10237.9571 | 10530.1076 | 10829.8949 | 11137.5125 | 10422.3744 | 10717.1036 | 11019.5135 | 11329.7986 | 11648.1582 | 11974.7966 | 12309.9232 | 12653.7525 | 13006.5045 | 13368.4049 | 13739.6847 | 14120.5808 | 14511.3361 | 14912.1995 | 15323.4262 | 15745.2776 | 16178.0219 | 16621.9338 | 17077.2949 | 17544.394 | 18023.5269 | 18514.9968 | 19019.1147 | 19536.1992 | 20066.5768 | 20610.5824
Fibre Rental |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
One time generation cost |  |  |  | 0 | 0 | 0 | 248043.8689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  |  |  | 0 | 0 | 0 | 364986.216 | 361576.0963 | 358012.5211 | 354288.5851 | 350397.072 | 346330.4408 | 342080.8112 | 337639.9483 | 332999.2465 | 328149.7132 | 323081.9508 | 317786.1391 | 312252.016 | 306468.8572 | 300425.4564 | 294110.1025 | 287510.5576 | 280614.0333 | 273407.1653 | 265875.9883 | 258005.9083 | 249781.6748 | 241187.3507 | 232206.282 | 222821.0653 | 213013.5138 | 202764.6224 | 192054.531 | 180862.4854 | 169166.7978 | 156944.8043 | 144172.821 | 130826.0985 | 116878.7735 | 102303.8189 | 87072.9913 | 71156.7765 | 54524.332 | 37143.4275 | 18980.3822
Depreciation |  |  |  | 0 | 0 | 0 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12 | 202770.12
NPV
Total Revenue Requirement Impact | 12858933.605 |  |  | 522500 | 127000 | 1838749.1875 | 920716.4969 | 671468.868 | 670228.1252 | 668950.1563 | 668181.8299 | 666588.8647 | 664945.7383 | 668941.866 | 667290.851 | 665574.8844 | 663790.5732 | 662302.0027 | 660145.973 | 628421.4564 | 632055.2052 | 631681.8969 | 631304.2925 | 630906.5294 | 630385.0809 | 629752.4161 | 629107.0062 | 628426.0147 | 627628.085 | 626668.642 | 625678.517 | 624630.0442 | 623401.7812 | 622029.6142 | 620594.3347 | 619069.208 | 617242.6623 | 615340.0496 | 613326.8854 | 611038.748 | 608577.9802 | 605980.2067 | 603092.292 | 599970.0367 | 596673.5466 | 593029.1351
Year | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Calendar Year (End of West Cape in 2029) | [6 empty] | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
MC-COS $ | [6 empty] | 386826.0295 | 398433.7427 | 410422.045 | 422804.6195 | 436142.7546 | 449117.1001 | 462517.5959 | 476368.2857 | 490672.1292 | 505446.2055 | 520705.5187 | 536883.3549 | 552905.4427 | 714698.1414 | 736241.4747 | 758864.1953 | 781589.2378 | 805058.8365 | 829299.173 | 854782.5021 | 880376.9381 | 906809.6984 | 934110.648 | 962740.8992 | 991590.2312 | 1021383.7267 | 1052156.8525 | 1084277.798 | 1116814.1409 | 1150416.6719 | 1185580.8824 | 1221133.5861 | 1257849.6559 | 1296290.288 | 1335156.976 | 1375294.9014 | 1417277.824 | 1459784.406 | 1503682.0605 | 1549505.5448
WC-COS $ | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point to Point Total | [6 empty] | 517671.6324 | 530587.8016 | 543897.6445 | 557614.9751 | 572301.2137 | 586637.1437 | 601412.84 | 616652.4822 | 632359.1677 | 648550.1144 | 665240.4667 | 682863.6523 | 700345.5431 | 714698.1414 | 736241.4747 | 758864.1953 | 781589.2378 | 805058.8365 | 829299.173 | 854782.5021 | 880376.9381 | 906809.6984 | 934110.648 | 962740.8992 | 991590.2312 | 1021383.7267 | 1052156.8525 | 1084277.798 | 1116814.1409 | 1150416.6719 | 1185580.8824 | 1221133.5861 | 1257849.6559 | 1296290.288 | 1335156.976 | 1375294.9014 | 1417277.824 | 1459784.406 | 1503682.0605 | 1549505.5448
With Discount | [6 empty] | 517671.6324 | 530587.8016 | 543897.6445 | 557614.9751 | 572301.2137 | 586637.1437 | 601412.84 | 616652.4822 | 632359.1677 | 648550.1144 | 665240.4667 | 682863.6523 | 700345.5431 | 714698.1414 | 736241.4747 | 758864.1953 | 781589.2378 | 805058.8365 | 829299.173 | 854782.5021 | 880376.9381 | 906809.6984 | 934110.648 | 962740.8992 | 991590.2312 | 1021383.7267 | 1052156.8525 | 1084277.798 | 1116814.1409 | 1150416.6719 | 1185580.8824 | 1221133.5861 | 1257849.6559 | 1296290.288 | 1335156.976 | 1375294.9014 | 1417277.824 | 1459784.406 | 1503682.0605 | 1549505.5448
Year | [6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Calendar Year (West Cape for 40 years) | [6 empty] | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055
MC-COS $ | [6 empty] | 386826.0295 | 398433.7427 | 410422.045 | 422804.6195 | 436142.7546 | 449117.1001 | 462517.5959 | 476368.2857 | 490672.1292 | 505446.2055 | 520705.5187 | 536883.3549 | 552905.4427 | 569465.5006 | 589486.7133 | 610214.4171 | 631658.3646 | 653824.4204 | 676609.949 | 700058.1741 | 724320.7646 | 749398.9987 | 775222.2129 | 801766.8565 | 829229.6476 | 857610.6591 | 886794.1912 | 916862.3932 | 947954.9305 | 980078.6945 | 1013011.3215 | 1047077.6806 | 1082279.8605 | 1118459.4496 | 1155792.9907 | 1194375.6182 | 1234068.7375 | 1274996.7291 | 1317291.5011 | 1360795.2539
WC-COS $ | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 148914.5015 | 150403.6465 | 151907.6829 | 153426.7598 | 154961.0274 | 156510.6376 | 158075.744 | 159656.5015 | 161253.0665 | 162865.5971 | 164494.2531 | 166139.1956 | 167800.5876 | 169478.5935 | 171173.3794 | 172885.1132 | 174613.9643 | 176360.104 | 178123.705 | 179904.9421 | 181703.9915 | 183521.0314 | 185356.2417 | 187209.8041 | 189081.9022 | 190972.7212 | 192882.4484
Point to Point Total | [6 empty] | 517671.6324 | 530587.8016 | 543897.6445 | 557614.9751 | 572301.2137 | 586637.1437 | 601412.84 | 616652.4822 | 632359.1677 | 648550.1144 | 665240.4667 | 682863.6523 | 700345.5431 | 718380.002 | 739890.3597 | 762122.1 | 785085.1243 | 808785.4478 | 833120.5867 | 858133.9181 | 883977.2661 | 910652.0651 | 938087.81 | 966261.1096 | 995368.8432 | 1025411.2467 | 1056272.7847 | 1088035.7726 | 1120840.0437 | 1154692.6588 | 1189371.4255 | 1225201.3856 | 1262184.8026 | 1300163.4411 | 1339314.0221 | 1379731.8599 | 1421278.5416 | 1464078.6312 | 1508264.2223 | 1553677.7023
With Discount | [6 empty] | 517671.6324 | 530587.8016 | 543897.6445 | 557614.9751 | 572301.2137 | 586637.1437 | 601412.84 | 616652.4822 | 632359.1677 | 648550.1144 | 665240.4667 | 682863.6523 | 700345.5431 | 718380.002 | 739890.3597 | 762122.1 | 785085.1243 | 808785.4478 | 833120.5867 | 858133.9181 | 883977.2661 | 910652.0651 | 938087.81 | 966261.1096 | 995368.8432 | 1025411.2467 | 1056272.7847 | 1088035.7726 | 1120840.0437 | 1154692.6588 | 1189371.4255 | 1225201.3856 | 1262184.8026 | 1300163.4411 | 1339314.0221 | 1379731.8599 | 1421278.5416 | 1464078.6312 | 1508264.2223 | 1553677.7023
COS Loss Savings | [6 empty] | 19240 | 18850 | 18467 | 18092 | 17725 | 17365 | 17013 | 16667 | 16329 | 15997 | 15673 | 15354 | 15043 | 14737 | 14438 | 14145 | 13858 | 13577 | 13301 | 13031 | 12767 | 12507 | 12253 | 12005 | 11761 | 11522 | 11288 | 11059 | 10835 | 10615 | 10399 | 10188 | 9981 | 9779 | 9580 | 9386 | 9195 | 9009 | 8826 | 8647
MC-COS $ Straight Growth 2.0% | [6 empty] | 386826.0295 | 398433.7427 | 410422.045 | 422804.6195 | 436142.7546 | 449117.1001 | 462517.5959 | 476368.2857 | 490672.1292 | 505446.2055 | 520705.5187 | 536883.3549 | 552905.4427 | 714698.1414 | 736241.4747 | 758864.1953 | 781589.2378 | 805058.8365 | 829299.173 | 854782.5021 | 880376.9381 | 906809.6984 | 934110.648 | 962740.8992 | 991590.2312 | 1021383.7267 | 1052156.8525 | 1084277.798 | 1116814.1409 | 1150416.6719 | 1185580.8824 | 1221133.5861 | 1257849.6559 | 1296290.288 | 1335156.976 | 1375294.9014 | 1417277.824 | 1459784.406 | 1503682.0605 | 1549505.5448
WC-COS $ Straight Growth 2.0% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MC-COS $ Straight Growth 2.2% | [6 empty] | 389836.6292 | 402329.6398 | 415263.7595 | 428649.1226 | 442490.1108 | 456807.239 | 471551.8033 | 486657.2876 | 502295.1883 | 518481.6789 | 535220.0179 | 552531.2773 | 570311.1099 | 733935.0684 | 757609.7162 | 782088.1628 | 807216.362 | 833194.8183 | 860071.5118 | 887852.6986 | 916366.8571 | 945885.0613 | 976413.2446 | 1007856.9823 | 1040285.1978 | 1073836.9467 | 1108468.0337 | 1144115.9864 | 1181003.9372 | 1219097.7155 | 1258307.3327 | 1298879.5574 | 1340746.1589 | 1383894.5315 | 1428534.6591 | 1474525.9101 | 1522029.4136 | 1571130.4424 | 1621676.6776 | 1673976.3264
WC-COS $ Straight Growth 2.2% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MC-COS $ Straight Growth 3.0% | [6 empty] | 402102.404 | 418297.9485 | 435194.2649 | 452829.6293 | 470982.9415 | 489910.8111 | 509674.1997 | 530290.0045 | 551617.6383 | 573787.8672 | 596935.8099 | 621082.4521 | 646015.7485 | 817390.1009 | 850365.1893 | 884570.0823 | 920274.4016 | 957317.3651 | 995900.5887 | 1036068.4876 | 1077771.446 | 1121288.6558 | 1166386.2003 | 1213462.8249 | 1262291.2666 | 1313231.5185 | 1366081.9464 | 1421206.0297 | 1478412.0512 | 1538018.3794 | 1599990.6477 | 1664450.8983 | 1731590.4922 | 1801312.2809 | 1873905.5114 | 1949477.3513 | 2027989.3755 | 2109704.2467 | 2194748.6816 | 2283221.5989
WC-COS $ Straight Growth 3.0% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MC-COS $ Straight Growth with WC 2.0% | [6 empty] | 386826.0295 | 398433.7427 | 410422.045 | 422804.6195 | 436142.7546 | 449117.1001 | 462517.5959 | 476368.2857 | 490672.1292 | 505446.2055 | 520705.5187 | 536883.3549 | 552905.4427 | 569465.5006 | 589486.7133 | 610214.4171 | 631658.3646 | 653824.4204 | 676609.949 | 700058.1741 | 724320.7646 | 749398.9987 | 775222.2129 | 801766.8565 | 829229.6476 | 857610.6591 | 886794.1912 | 916862.3932 | 947954.9305 | 980078.6945 | 1013011.3215 | 1047077.6806 | 1082279.8605 | 1118459.4496 | 1155792.9907 | 1194375.6182 | 1234068.7375 | 1274996.7291 | 1317291.5011 | 1360795.2539
WC-COS $ Straight Growth with WC 2.0% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 148914.5015 | 150403.6465 | 151907.6829 | 153426.7598 | 154961.0274 | 156510.6376 | 158075.744 | 159656.5015 | 161253.0665 | 162865.5971 | 164494.2531 | 166139.1956 | 167800.5876 | 169478.5935 | 171173.3794 | 172885.1132 | 174613.9643 | 176360.104 | 178123.705 | 179904.9421 | 181703.9915 | 183521.0314 | 185356.2417 | 187209.8041 | 189081.9022 | 190972.7212 | 192882.4484
MC-COS $ Straight Growth with WC 2.2% | [6 empty] | 389836.6292 | 402329.6398 | 415263.7595 | 428649.1226 | 442490.1108 | 456807.239 | 471551.8033 | 486657.2876 | 502295.1883 | 518481.6789 | 535220.0179 | 552531.2773 | 570311.1099 | 588613.5283 | 610793.8598 | 633781.1474 | 657560.648 | 681969.9557 | 707293.8648 | 733531.7414 | 760606.4283 | 788500.9641 | 817422.4728 | 847376.4548 | 878153.0768 | 910039.513 | 943067.5259 | 977080.1921 | 1012247.5892 | 1048676.4206 | 1086206.0816 | 1125008.3299 | 1165194.5061 | 1206563.7841 | 1249388.343 | 1293678.9826 | 1339303.4217 | 1386569.0873 | 1435305.18 | 1485693.9771
WC-COS $ Straight Growth with WC 2.2% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 148914.5015 | 150403.6465 | 151907.6829 | 153426.7598 | 154961.0274 | 156510.6376 | 158075.744 | 159656.5015 | 161253.0665 | 162865.5971 | 164494.2531 | 166139.1956 | 167800.5876 | 169478.5935 | 171173.3794 | 172885.1132 | 174613.9643 | 176360.104 | 178123.705 | 179904.9421 | 181703.9915 | 183521.0314 | 185356.2417 | 187209.8041 | 189081.9022 | 190972.7212 | 192882.4484
MC-COS $ Straight Growth with WC 3.0% | [6 empty] | 402102.404 | 418297.9485 | 435194.2649 | 452829.6293 | 470982.9415 | 489910.8111 | 509674.1997 | 530290.0045 | 551617.6383 | 573787.8672 | 596935.8099 | 621082.4521 | 646015.7485 | 672028.4766 | 703595.4565 | 736323.8487 | 770497.3081 | 806137.2686 | 843130.4054 | 881815.571 | 921948.7864 | 963868.0382 | 1007443.4017 | 1052880.5871 | 1100156.6792 | 1149423.5916 | 1200682.6241 | 1254117.2597 | 1309675.328 | 1367642.4096 | 1427846.1399 | 1490629.9216 | 1555971.6188 | 1623962.8953 | 1694824.084 | 1768539.7572 | 1845261.7385 | 1925177.9872 | 2008401.8666 | 2094941.9592
WC-COS $ Straight Growth with WC 3.0% | [6 empty] | 130845.6029 | 132154.0589 | 133475.5995 | 134810.3555 | 136158.4591 | 137520.0437 | 138895.2441 | 140284.1966 | 141687.0385 | 143103.9089 | 144534.948 | 145980.2975 | 147440.1005 | 148914.5015 | 150403.6465 | 151907.6829 | 153426.7598 | 154961.0274 | 156510.6376 | 158075.744 | 159656.5015 | 161253.0665 | 162865.5971 | 164494.2531 | 166139.1956 | 167800.5876 | 169478.5935 | 171173.3794 | 172885.1132 | 174613.9643 | 176360.104 | 178123.705 | 179904.9421 | 181703.9915 | 183521.0314 | 185356.2417 | 187209.8041 | 189081.9022 | 190972.7212 | 192882.4484
Wind Farm 1 (100 MW) resulting OATT rate decrease |  | M | 2023 |  |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12% | 12%
Wind Farm 2 (100 MW) resulting OATT rate decrease |  | M | 2030 | bar: 1 2016 to 40 2055
COS Average Annual Peak (MW) | Growth | 1.47% |  |  |  |  | 20.5637 | 20.866 | 21.1727 | 21.484 | 21.7998 | 22.1202 | 22.4454 | 22.7754 | 23.1102 | 23.4499 | 23.7946 | 24.1444 | 24.4993 | 24.8594 | 25.2249 | 25.5957 | 25.9719 | 26.3537 | 26.7411 | 27.1342 | 27.5331 | 27.9378 | 28.3485 | 28.7652 | 29.1881 | 29.6171 | 30.0525 | 30.4943 | 30.9426 | 31.3974 | 31.859 | 32.3273 | 32.8025 | 33.2847 | 33.774 | 34.2705 | 34.7742 | 35.2854 | 35.8041 | 36.3304
Network Service $ | [6 empty] | 568182.7745 | 582300.4119 | 596768.8302 | 611596.7453 | 626793.0896 | 642367.0175 | 658327.9108 | 674685.3844 | 691449.2922 | 708629.7327 | 726237.0557 | 744281.8678 | 762775.0394 | 781727.7108 | 801151.2992 | 821057.5056 | 841458.3214 | 862366.0363 | 883793.2452 | 905752.856 | 928258.0972 | 951322.5261 | 974960.037 | 999184.869 | 1024011.6154 | 1049455.232 | 1075531.0462 | 1102254.7661 | 1129642.4903 | 1157710.7172 | 1186476.3554 | 1215956.7334 | 1246169.6104 | 1277133.1867 | 1308866.115 | 1341387.5113 | 1374716.9668 | 1408874.5593 | 1443880.8655 | 1479756.9733
OATT Network $/MW-month | [6 empty] | 2302.5289 | 2325.5542 | 2348.8097 | 2372.2978 | 2396.0208 | 2419.981 | 2444.1808 | 2468.6227 | 2493.3089 | 2518.242 | 2543.4244 | 2568.8586 | 2594.5472 | 2620.4927 | 2646.6976 | 2673.1646 | 2699.8962 | 2726.8952 | 2754.1642 | 2781.7058 | 2809.5228 | 2837.6181 | 2865.9943 | 2894.6542 | 2923.6007 | 2952.8368 | 2982.3651 | 3012.1888 | 3042.3107 | 3072.7338 | 3103.4611 | 3134.4957 | 3165.8407 | 3197.4991 | 3229.4741 | 3261.7688 | 3294.3865 | 3327.3304 | 3360.6037 | 3394.2097
| Point to Point | Peak |  | COS Network in 2016
| Growth | Growth |  | 630885
COS Numbers | 3% | 2.2% |  | Derived from 2011 and escalated to 2016
MECL Numbers | 2% | 1.467% |  | 517794
MECL Numbers | 2.2% | 1.613% |  | 630884.7159
MECL Numbers | 3% | 2.2% |  | 2011 Rate
|  |  |  | 2257.16 | $/Month
|  |  |  | 19.1167 | MW average 2011
Note on H18: IT Services: One-time cost for thermal generation required to commission Bedeque Bus protection.
Note on H20: LeBlanc, Ron: Direct O&M only
Note on E39: LeBlanc, Ron: Only half of the interest due to money being spent over the year
Note on F39: LeBlanc, Ron: Full year interest on last year's total plus half of this year's total